- Currently we manage the data plans for D1 construction on their GPS rovers. Looking at the price table xlsx it doesn’t appear to be an option for us to quote. I just wanted to make sure that D1 will either need to supply their own or, we will need to add it into our quote. I’m pretty sure this is the only district that is managed this way. Please let me know if you just want it added to the quote.

Response:  Wireless data plans are not part of this procurement and should not be added into a vendor’s quote.

- D2 is requesting 9 Trimble R10 rover package A’s and 3 package B;s. the package B shows a trade in. does this mean they want 12 R10 packages with 3 trade ins or, 9 total and 3 trade ins.

Response: District Two anticipates purchasing twelve R10 Rover Packages (nine via R10 Rover Package A, which does not have accompanied trade-in equipment; three via R10 Rover Package B which includes three TopCon equipment packages as trade-ins).  Please note, per the IFB Contract,  2. PRICING, specifically 2.2. …The estimated quantities specified are for award determination purposes ONLY.  This statement has been repeated in the ATTACHMENT A Equipment and Price (rev.2.03.2020) document.

- Leica Geosystems, Inc. is a manufacturer of geospatial and professional measurement solutions and offers the type of equipment required within the bid document.

We would be able to submit a response to this bid that would meet your organization’s reasonable needs and as such, we are formally asking if the Illinois Department of Transportation would accept a bid for alternative equipment, that is not brand name or model specific, but an equal or better product?

Response: No. This brand name solicitation was based on the need for consistency and continuity across the state between entities including our internal Design and Construction staff, our consultants, and our contractors, compatibility with existing software platforms and Trimble equipment already being utilized at the Department, and to be sure that our survey and construction documentation equipment coordinates as best as possible with our efforts related to 3D CAD, automated machine guidance, and paperless plans, we have determined that it’s in the Department’s best interest to initiate a procurement with Trimble.

- I see the addendums and corrections on the procurement website.  I have two more that needs to be done.

On Trimble R-12 Rover Package A, this needs to be added.

Trimble R12 Configuration Level - R12 Base and Rover Mode R12-CFG-001-40

On Trimble R-12 Rover Package B,  this needs to be added.

Trimble R12 Configuration Level - R12 Base and Rover Mode R12-CFG-001-40

Is IDOT wanting us to just bid on the districts that are in our territory?  That makes the most sense to me, but I would like clarification on this.

Response: ATTACHMENT A

Equipment and Price (rev.2.03.2020) document has been edited to reflect the changes below and is included in this Addendum #2.  This revised ATTACHMENT A Equipment and Price (rev.2.03.2020) document supersedes the previous document and is to be submitted with the Vendor’s Bid:

Trimble R-12 Rover Package A, this new line is added.

Trimble R12 Configuration Level - R12 Base and Rover Mode  R12-CFG-001-40

Trimble R-12 Rover Package B,  this new line is added.

Trimble R12 Configuration Level - R12 Base and Rover Mode  R12-CFG-001-40

The Agency is seeking to purchase new Trimble brand GPS and other equipment within both the construction and surveys areas from one Trimble brand name statewide vendor.  This vendor would have the option to subcontract.  Please note, per the IFB Contract, 1. DESCRIPTION OF SUPPLIES AND SERVICES, specifically 1.6. SUBCONTRACTING…Subcontractors are allowed.