# Security Fence Replacement

# 2019-54

Addendum # 1

Response to Vendor Questions

April 5, 2019

* Addendum # 1 is to answer all vendor questions submitted.
* The vendor questions listed below specifically pertain to the solicitation document.
* **Vendor Question 1 IFB Doc**: Must IDOT Highway standards be adhered to in new fence constructions? For example, fence spacing?
* **Answer Question 1 IFB Doc:** Yes, IDOT standards/specifications are to be followed.
* **Vendor Question 2 IFB Doc**: What length are the sliding gates that are to be installed?
* **Answer Question 12 IFB Doc:** The sliding gates or gate openings need to be as follows:
	+ - Newton Yard: 30’ opening
		- Flora Yard: 24’ opening
		- Robinson Yard: 24’ opening